Electrical Lighting Controls Schedule

Revision Date Description Created Checked

T1 2 Tender Issue

**Schedule of Equipment – Single floor pluggable**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Code** | **Description** | **iLight Series** | **Product Code** | **Image** | **Areas** |
| LCM1 | Auto Addressing 10 Output Pluggable DALI LCM | iLightEnterprise | LCMD-10 | Graphical user interface  Description automatically generated | Open Plan Office/ meeting rooms |
| P1 | Ceiling mount PIR/photocell 64mm cut out | iLight Enterprise | PPAD- C-DALI-ADDR |  | Recess mounting |
| P2 | Analogue RJ12 connection, 49mm cut out for the iLight EnterpriseLCM | iLight Enterprise | AXCS01SRJ | **A picture containing white  Description automatically generated** | Recessmounting |
| P5 | HB DALI Ceiling mount PIR/photocell | iLight Enterprise | PPAD-C-HB-DALI-ADDR | **A picture containing light  Description automatically generated** | High Bay - Atriums & Warehouses |
| CP2 | Metal Control Plate-4 ButtonRaise up/down  | iLight Enterprise | Classic Range | A picture containing black, electronics, calculator, remote control  Description automatically generated | Meeting rooms |
| CP3 | Plastic DALI Control Plate | iLight Enterprise | CLD Range  | Graphical user interface, diagram  Description automatically generated | Meeting rooms |
| TS1 | 8” Multiroom Colour Touchscreen | iLight Enterprise | TSE80 | A picture containing text, monitor, black, indoor  Description automatically generated | Reception, meeting rooms or central controller |
| TS2 | 5.5” Multiroom Colour Touchscreen | iLight Enterprise | TSE55 | A picture containing text, monitor, screenshot  Description automatically generated | Reception, meeting rooms or central controller |
|  APP | iLight AppLighting, HVAC, Shading | iLight Enterprise | TSEtouch | Graphical user interface, application, chat or text message  Description automatically generated | Remote access/meeting rooms for end user applications |
| UI-2 | Mini Universal InterfaceFor Room Partition | iLight Enterprise | UIM | Diagram  Description automatically generated | Connection of switch contacts to CAN and room partition switches |