Electrical Lighting Controls Schedule

Revision	Date		Description				Created 	Checked

T1		2		Tender	 Issue

Schedule of Equipment – Commercial fit out

| Code |  | Description | iLight Series | Product Code | Image |  | Areas |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CP1 | Metal Control Plate- Configurable button sizes & engraving, brushed stainless |  | iLight Enterprise | Sencia Range |  | Meeting Rooms |  |
| CP2 | Metal Control Plate- Configurable button sizes & engraving, brushed brass |  | iLight Enterprise | Sencia Range |  | Meeting rooms |  |
| CP3 | Metal Control Plate- Configurable button sizes & engraving, brushed chrome |  | iLight Enterprise | Sencia Range |  | Meeting rooms |  |
| CP4 | Metal Control Plate- Configurable button sizes & engraving, brushed satin |  | iLight Enterprise | Sencia Range |  | Meeting rooms |  |
| CP5 | Metal Control Plate- 4 Button Raise up/down |  | iLight Enterprise | Classic Range |  | Meeting rooms |  |
| CP6 | Plastic DALI Control Plate White |  | iLight Enterprise | CLD Range |  | Meeting rooms |  |
| CP7 | Plastic DALI Control Plate Black |  | iLight Enterprise | CLD Range |  | Meeting rooms |  |
| TS1 | 8” Multiroom Colour Touchscreen |  | iLight Enterprise | TSE80 |  | Reception, meeting rooms or central controller |  |
| TS2 | 5.5” Multiroom Colour Touchscreen |  | iLight Enterprise | TSE55 |  | Reception, meeting rooms or central controller |  |
| APP | iLight App Lighting, HVAC, Shading |  | iLight Enterprise | TSEtouch |  | Remote access/meeting rooms for end user applications |  |
| TS3 | 4” Colour Touch Screen for HVAC-1 Lighting, HVAC & Shading |  | iLight Enterprise | TSG40 |  | Meeting rooms |  |
| PC1 | Enterprise Operate |  | iLight Enterprise | AX-PCSM1 |  | Timed events & scene recall |  |