Electrical Lighting Controls Schedule

Revision Date Description Created Checked

T1 2 Tender Issue

**Schedule of Equipment – Commercial fit out**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Code** | | **Description** | **iLight Series** | **Product Code** | **Image** | | **Areas** |
| CP1 | Metal Control Plate-  Configurable button sizes & engraving, brushed stainless | | iLight Enterprise | Sencia  Range |  | Meeting Rooms | |
| CP2 | Metal Control Plate-  Configurable button sizes & engraving, brushed brass | | iLight Enterprise | Sencia  Range |  | Meeting rooms | |
| CP3 | Metal Control Plate-  Configurable button sizes & engraving, brushed chrome | | iLight Enterprise | Sencia  Range |  | Meeting rooms | |
| CP4 | Metal Control Plate-  Configurable button sizes & engraving, brushed satin | | iLight Enterprise | Sencia  Range | **A picture containing text, indoor, black, electronics  Description automatically generated** | Meeting rooms | |
| CP5 | Metal Control Plate-  4 Button  Raise up/down | | iLight Enterprise | Classic  Range | A picture containing black, electronics, calculator, remote control  Description automatically generated | Meeting rooms | |
| CP6 | Plastic DALI Control Plate  White | | iLight Enterprise | CLD Range | Graphical user interface, diagram  Description automatically generated | Meeting rooms | |
| CP7 | Plastic DALI Control Plate  Black | | iLight Enterprise | CLD Range | Graphical user interface  Description automatically generated | Meeting rooms | |
| TS1 | 8” Multiroom Colour Touchscreen | | iLight Enterprise | TSE80 | A picture containing text, monitor, black, indoor  Description automatically generated | Reception, meeting rooms or central controller | |
| TS2 | 5.5” Multiroom Colour Touchscreen | | iLight Enterprise | TSE55 | A picture containing text, monitor, screenshot  Description automatically generated | Reception, meeting rooms or central controller | |
| APP | iLight App  Lighting, HVAC, Shading | | iLight Enterprise | TSEtouch | Graphical user interface, application, chat or text message  Description automatically generated | Remote access/meeting rooms for end user applications | |
| TS3 | 4” Colour Touch Screen for HVAC-1 Lighting, HVAC & Shading | | iLight Enterprise | TSG40 | A rectangular electronic device  Description automatically generated with low confidence | Meeting rooms | |
| PC1 | Enterprise Operate | | iLight Enterprise | AX-PCSM1 | Graphical user interface  Description automatically generated | Timed events & scene recall | |